## Slide 1: Gaussian-based SBR Measurement
Github link

## Slide 2: Idea
Signals are marked by a peak intensity
However, they can be decomposed into:
  True Positive✔
  False Positive✖

## Slide 3: Spatial Information
Local peak Maximums
  Key parameter: distance criteria – 2 spots cannot be closer than some x distance (x=15-20 pixels) minimize false positives

## Slide 4: Intensity Information
Undistinguishable signals
Bg
Intensity Values
Signals
Intercept (threshold)
Gaussian Mixture Model

## Slide 5: Montage/collage images thresholding
Intensity Values
Background
Signals
Similarly, the model can be fitted with more than 2 groups (k=3)
Used on collage image (stitch of all image) to provide auto-thresholding
High background/ Artifacts

## Slide 6: Drawbacks
Low expression targets
  Number of data points ↓ Reliability ↓
Maximas intensity too close to background
  High gaussian curve overlap
Does not look at size/shape like people
  Can be confused by very bright structures (i.e., Lipofuscin)
    Not a problem if it is largely outnumbered by spots maximas

## Slide 7: Measurements Comparison
Foreground only (from 3 experiments of same gene panel)
Non-exclusive ( all Maximas)

## Slide 8
Used an average estimate of SBR by signal vs (Foreground +Background)
Trendline is clearly shown using both estimates- "higher" estimate of spot vs background is closer to our measurements, and more sensitive
Noise is high; sensitivity < 1;
A variety of different experiments in different conditions
Human measurements may be biased, if coming only from 1 person
Note that R2 is not all indicative because we are measuring a narrow range of values.
Used a higher estimate of SBR by signal vs only Background

## Slide 9: Same graphs, set 0 intercept

## Slide 10: Usage
Available on Github
Now performs background subtraction mode if 'bg' or another user-defined folder is available
├───DQS
│ ├───Ctrl
│ │ └───AcqData
│ └───AVM
│ └───AcqData
├───bg (Optional)
│ └───AcqData
└───Cyc01R
├───AcqData
├ SNRAnalysis-v5.1.py
├ SNRA-settings.ini
Just double-click to use!

## Slide 11: SNRA-settings.ini
If this section is NOT provided, it will use settings from [Default] section settings, where 30 random samples are selected

## Slide 12: Results & Output – Analysis Summary
1
2
3
4
1. Basic Image Info
2. Foreground filtered ratios
3. "Collage images"-filtered ratios
3. Background-subtracted spot-finding method ratios
For most "normal" images, this ratio is reliable
More conservative ratio, or if background/artifacts intensity is high

## Slide 13
└───SNRAnalysis-Summary
└───Cyc01R
├───AcqData
└───BG-subtracted (Generated)
└───Cyc02R
├───AcqData
└───BG-subtracted (Generated)
…. for each cycle

## Slide 14: Code availability
GitHub - supermomo668/Gaussian-Mixture-Fluorescence-In-Situ-Hybridization-Signals-to-Background-Analysis: Biomolecular imaging research
Download ready